| Failover action | Failover Action | Primary unit action | Secondary unit action | Comments |
| --- | --- | --- | --- | --- |
| Issued command “no failover active” on primary unit when acting as active | Failover | Switched to standby | Switched to active | After test reverted back to original roles issuing the same command on secondary unit |
| Power cycled both firewalls |  | Active | Standby | Depending on the configuration, they held their roles |
| Power cycled primary unit | Failover | n/a | Switched to active |  |
| Formerly active unit comes online | No failover | Standby | Active |  |
| Power cycled secondary unit when it was acting as active | Failover | Switched to Active | n/a |  |
| Secondary unit comes online | No failover | Active | Standby |  |